The City of La Center, Washington is requesting bids from qualified firms capable of procurement and installation of a commercial water heater.  The contractor must be licensed in the State of Washington.  State of Washington Prevailing Wage Laws will apply to any contract between the contractor and the City of La Center. Costs should include all supplies, disposal of debris, and materials.  Work shall begin in September and be completed before the end of September.  Firms are invited to submit a bid outlining their experience and qualifications in performing work directly related to the services required.

Project Scope:  Replace in kind and install a water heater

--100 gallon capacity

--input 88,000 BTUs

--Recovery >20 Gallons/Hour

The City of La Center is an Equal Opportunity Employer.  For clarifications, it is requested that questions be submitted by email to arobertssantististevan@ci.lacenter.wa.us.  The City of La Center reserves the right under applicable law to reject or waive procedural irregularities to reject any and all bids and to terminate the selection process at any time if, at its sole discretion,  determines such action would be in the best interests of the City.  Bids will be accepted no later than 2:00pm on Thursday, August 15, 2024.

Submit Bids Clearly Labeled “Bid for Water Heater Replacement” via email to the Attention of:

arobertssantistevan@cilacenter.wa.us